APPLICATION FORM

for order of fixed gas analyzers of technological and ecological monitoring (gas analyzing equipment set)

Please give as much as possible information about definite application of ordered equipment.  Please contact us if you have any questions when completing the application form by

tel. 8-4812-31-11-68.

I. Content of analyzed sample

(completed for each sampling point, Appendix 1)

1.1. Analyzed atmosphere: _______________________________________________________________

(combustion gases, process gas etc)

1.2. Component composition of analyzed atmosphere:

| No. | Component name | Units %, ррm, mg/m3 | Min | Nomin. | Мах |
| --- | --- | --- | --- | --- | --- |
| Measured components |
| Non-measured components contained in sample |
| Mechanical impurities: |  |  |
|  | Dust |  |  |  |  |
|  | Moisture |  |  |  |  |
|  | Resin |  |  |  |  |
| Gaseous contaminants |  |  |

II. Sampling conditions

(completed for each sampling point, Appendix 1)

|  | Sampling point No.1 (if there are several points, completed for each point) |
| --- | --- |
|  | Min | Nomin. | Мах |
| Analyzed sample temperature, С |  |  |  |
| Ambient temperature, С |  |  |  |
| Pressure/ depression in sampling point _________ Unit |  |  |  |
| Distance from sampling point to : | ______meter Expected mounting of gas –analysis equipment |
| Sampling point |  |
| Sampling probe mounting |  |
| Category of hazard of premises in sampling point |  |

I I I. Configuration of ordered gas analyzers (equipment)

3.1 Required type of monitoring:

3.2. Quantity of sampling points: ________________________________________________

I V. Requirements to gas-analysis equipment and its location

4.1. Design

| Place of gas analyzer (equipment) mounting |  |
| --- | --- |
| Ambient temperature in place of expected mounting of gas analyzers | Мin Nom. Мах |
| Gas analyzer (equipment) mounting | _ |
| Availability of heat-transfer agent and water in place of equipment mounting |  |
| Availability of compressed air line in place of equipment mounting |  |
| Availability of drainage line for condensate discharge |  |
| Order of sampling points check (during periodical monitoring) | _____________Specify |
| Output signal |  |
| Necessity of remote alarm |  |
| Necessity of PC configuration |  |
| Necessity of data transmission to automatic process control system |  |
| Data transmission protocol to automatic process control system |  |
| Category of hazard of premises in place of gas analyzer (equipment) mounting |  |

4.2  Necessity of  commissioning works:

4.3  Necessity of design works:                                                                    Yes                                    No

V. Additional information

Special requirements to equipment:  ________________________________________________

________________________________________________________________________________________

________________________________________________________________________________________

________________________________________________________________________________________

_________________________________________________________________________________

Technological process characteristic: _______________________________________

________________________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________

Please, perform a brief description or a plan of industrial object to be protected.

1.1 Company: ________________________________________________ Fax: __________________

1.2 E-mail: _____________________________ Tel.___________________________________________

1.3 Full name.: _____________________________________________________________ _____________

(person completed the application form)

1.4 Position: _______________________________________________________________________

Date __________________________  Signature ________________________

Send the completed application form by fax (4812) 31-75-16 or е-mail:

info@analitpribor-smolensk.ru

APPENDIX 1.

1.1. Analyzed atmosphere: _______________________________________________________________

(combustion gases, process gas etc)

1.2. Component composition of analyzed atmosphere:

| No. | Component name | Units %, ррm, mg/m3 | Min | Nomin. | Мах |
| --- | --- | --- | --- | --- | --- |
| Measured components |
| Non-measured components contained in sample |
| Mechanical impurities: |  |  |
|  | Dust |  |  |  |  |
|  | Moisture |  |  |  |  |
|  | Resin |  |  |  |  |
| Gaseous contaminants |  |  |

II. Sampling conditions

(completed for each sampling point, Appendix 1)

|  | Sampling point No.1 (if there are several points, completed for each point) |
| --- | --- |
|  | Min | Nomin. | Мах |
| Analyzed sample temperature, С |  |  |  |
| Ambient temperature, С |  |  |  |
| Pressure/ depression in sampling point _________ Unit |  |  |  |
| Distance from sampling point to : | ______meter Expected mounting of gas –analysis equipment |
| Sampling point |  |
| Sampling probe mounting |  |
| Category of hazard of premises in sampling point |  |

# Text boxes

Premises

Open area

Metal pipe  ________ meter

Hazardous  _________category

Other _________________ Specify the type

Not required

Required

Modbus  ______________ Version

Fildbus _______________ Version

_______category

Non-hazardous

RS485

Other___________________

By turn  _______Time

(cyclic)

Other

Yes   __________ Union

No

Yes   __________ Union

No

Non-hazardous

Hazardous  _________category

No

Brick pipe   ________ meter

Other__________________  ________ meter

Yes

No

Light

Audible

4-20 mА

Vapor _______ Т,(С

Water ______Т,(С

No

В шкафу

In cabinet

On board

На столе

Yes

No

Non-hazardous

Periodical

Continuous

Premises

Open area

On table

Other________________

Other__________________  ________ meter

Brick pipe   ________ meter

Metal pipe  ________ meter

Open area

Premises